## Slide 1: Computer System Validation
Eric J. Silva
eric@ericsilva.org
01 March 2013

## Slide 2: Agenda
Introduction
Target Audience
Background
Responsibilities & SOPs
The Validation Process
Software Development Lifecycle (SDLC)
Computer System Development SOPs

## Slide 3: Introduction
The purpose of this presentation is to give the audience an overview of:
  What is Computer System Validation (CSV)
  Why is CSV needed
  What processes are needed for CSV

## Slide 4: Target Audience
Developers of computer systems applications
Users of computer systems involved in testing and validation activities
Personnel involved in computer systems procurement
All concerned managers, auditors, and regulatory personnel
Personnel involved in the maintenance of computer systems

## Slide 5: Background
In 1987 the FDA published a document entitled ‘FDA Guidelines on General Principles of Process Validation’
It states the following:
  Process validation is establishing documented evidence which provides a high degree of assurance that a specific process will consistently produce a product meeting its predetermined specifications and quality attributes.
  This definition indicates that validation can apply to any process including process managed / controlled by computer systems.

## Slide 6: What is Computer System Validation
  The purpose of the validation process is to provide a high degree of assurance that a specific process (or in this case computer system) will consistently produce a product (control information or data) which meets predetermined specifications and quality attributes.

## Slide 7: Why is Validation Needed
FDA regulations mandate the need to perform Computer System Validation and these regulations have the impact of law.
Failing an FDA audit can result in FDA inspectional observations (“483s”) and warning letters.
Failure to take corrective action in a timely manner can result in shutting down manufacturing facilities, consent decrees, and stiff financial penalties.
The ultimate result could be loss of jobs, indictment of responsible parties (usually the officers of a company), and companies suffering economic instabilities resulting in downsizing and possibly eventual bankruptcy.
  As a contracted resource of software and services to pharmaceutical and other life sciences companies, we are responsible for ensuring that our software products are compliant with federal regulations.

## Slide 8: Why is Validation Needed
Reduces risk and legal liability
Having the evidence that computer systems are correct for their purpose and operating properly represents a good business practice
Software is constantly evolving to keep up with the increasingly complex needs of the people that use it; therefore validation is an ongoing necessity

## Slide 9: Validation
Validation is applied to many aspects of the healthcare and other regulated industries and businesses.
Examples include:
  Services
  Equipment
  Computer Systems
  Processes
In each case, the objective of validation is to produce documented evidence, which provides a high degree of assurance that all parts of the facility will consistently work correctly when brought into use.
Computer systems validation includes validation of both new and existing computer systems.
  Validation requires documented evidence. If the validation process is not documented then it cannot be proved to have occurred.

## Slide 10: Responsibilities
Computer system validation must be supported at different levels within the organization through policies, standards and documentation
Corporate/Business Unit
Site/Department Personnel
Quality Assurance and Regulatory Units
Corporate Management
IT Departments
  Smaller companies can be considered a single Corporate/ Business Unit, but can also have different policies based on Site [geographical] differences (e.g., USA, UK, India)

## Slide 11: Responsibilities & SOPs
Each corporate [business] unit is responsible for establishing a policy on computer systems validation requirements.
Site or departments are responsible for:
  Computer system validation Standard Operating Procedures (SOPs)
  System inventory and assessment
  System specific validation protocols
  System specific validation documentation
SOPs must:
  Comply with the Computer Systems Validation Policy and any Business Unit policies that may apply
  Be approved by the appropriate management for that site or department

## Slide 12: System and Inventory Assessment
Site or departmental management is responsible for compiling and maintaining details about their computer systems.
  This information includes identifying the systems that are being used and for what purposes those systems are being used.
The system inventory and assessment information is used to determine which systems need to be validated.

## Slide 13: System Specific Validation Protocols
Validation protocols are documents associated with each system identified as requiring validation.
The protocol describes the scope, procedure to be followed, responsibilities and acceptance criteria for the validation.
Validation protocols should comply with the SOPs.

## Slide 14: Validation Documentation
Documentation that verifies each validation activity must be generated and stored with the validation protocol in the appropriate archive.
Validation documentation may include:
  test data
  summary reports
  procedures
  certification forms produced during the validation process

## Slide 15: Pre-Validation Process
Before you can validate a system, you need to identify the systems that require validation.
Determining if a system requires validation involves analysis of the following areas:
  21 CFR Part 11 – electronic records and signatures
  Manufacturing processes
  Product [drug material] release or stability information
  Regulatory information
  Support GxP activities
All users must be trained on current SOPs related to computer system development and validation.

## Slide 16: System Owners
All hardware and system/application should have a designated owner.
Hardware Owner
  Responsible for identifying all software residing on the hardware – both system and application software
  Maintaining the inventory whenever changes are made
  Managing the change control process for the system software and hardware
  Working with the system/application owners to determine the impact of the change to the system/application
System/Application Owner
  Defining the system (hardware and application)
  Completing the system assessment
  Ensuring that information pertaining to their specific system is correct and complete
  Updating the system assessment whenever changes are made to the system
  Managing the change control process for the system/application

## Slide 17: Validation Master Plan
The validation of all computer systems will be documented in a Validation Master Plan (VMP)
The Validation Master Plan will include:
  Identifying components requiring validation
  Prioritizing and justifying the validations to be performed
  All activities and assigned responsibilities
  Establishing site specific procedures to support validation

## Slide 18: Types of Validation
Prospective validation – the validation of a new system as it is developed
Retrospective validation – the validation of an existing system

## Slide 19: The Validation Process
Consists of five specific processes
  Validation Master Plan (VMP)
  Project Plan
  Installation Qualification (IQ)
  Operational Qualification (OQ)
  Performance or Process Qualification (PQ)

## Slide 20: Specification and Qualification Relationships
User Requirement Specification
Functional Specification
Design Specification
System Build
PQ
OQ
IQ
Verifies
Verifies
Verifies

## Slide 21: The Validation Process Steps
Establish Team(s)
  These are the teams that will be responsible for the validation process
Determine Validation Activities
  Validation activities are the exact details or activities that will be required for each of the steps in the validation process
  The output from this activity will be the Validation Plan
Write the Validation Protocol
  Describes the procedure and the steps within the procedure that will be followed in order to validate the system
  The Validation Protocol must also provide a high level description of the overall philosophy, intention and approach
Specify the System Development Details
  Must have a good methodology in order to develop a system (SDLC)
  Must have a formal quality management system for the development, supply and maintenance of the system
Perform Qualification Activities
  Design, IQ, OQ, PQ

## Slide 22: The Validation Process Steps
Develop/Review Controls and Procedures
  SOPs (Standard Operating Procedures)
  Training procedures and Training records
Certify the System
  This step is where you certify that the validation deliverables have met the acceptance criteria that were described in the Validation Protocol
  When you certify the system you should prepare a Validation Report
  The validation report should outline the details of the validation process
Review Periodically
  The system should be reviewed periodically to provide additional assurance of validation
  There should be documentation outlining the details of how the review is to be done and what the review should cover
  The end result of a review should be a summary of the review and a recommendation as to what to do next

## Slide 23: Software Development Lifecycle
Planning
Requirements Analysis
Design
Development
Integration, Test, and Validation
Installation, Qualification, and Implementation
Operations and Maintenance

## Slide 24: Typical SDLC SOPs
Title | Phase / Description
Computer System Lifecycle Policy | Overview of SDLC Process
Computer System Planning | Planning
Computer System Requirements | Planning / Requirements Gathering
Computer System Assessments | Planning / Determining Validation Needs
Computer System Estimation | Planning / Time and Resource Estimation
Computer System Design and Configuration | Design / Hardware and Software
Computer System Development | Build / Development, Review, and Configuration
Computer System Test Planning | Testing / Planning, Strategy, Scripts, and Summary
Computer System Application Test Execution, Deviation, and Documentation Processes | Testing / Test Execution and Deviations
Computer System Defect and Feature Management | Testing / Managing Defects
Computer System Release Management | Release / Release and Archiving
Computer System Configuration Management | Maintenance / Change Control and Maintenance
Computer System Decommissioning | Decommissioning / Retirement of Computer System
Computer System Project Closure | Closure / Post Release Analysis
Computer System Maintenance and Administration Activities | Maintenance / Admin and Maintenance
Computer System Change Control | Maintenance / Change Control

## Slide 25: Resources and References
Computer System Validation (FDA)
21 CFR Part 11
FDA Guidance for Industry – Computer Systems Used in Clinical Trials
Computer System Validation – It’s More Than Just Testing